REFERENCE IMAGES

# 11

## Shade Storage

10

## Shade Bathroom

P9

P8

# 09

IR + M + ER

IR + M + ER

R

R

LIGHTING PANELS - CONTROL ELEMENTS ( + dimmer)

P lighting panels

P1 - entrance hall ceiling techinical lighting & decotative / staircaises technical & decoratice lighting

P2 - entrance hall/ staircaises ceiling techinical lighting & decotative / staircaises technical & decoratice lighting/ interior rollers & mosquito net

P3 - living room techinical lighting & decotative / interior rollers & exterior rollers & mosquito net

P4 - dining room ceiling techinical lighting & decotative / fixed furniture lighting & entrance closet ceiling techinical lighting / fixed furniture

P5 - entrance bathroom techinical lighting & decotative & backlit mirror / interior rollers & mosquito net

P6 - kitchen ceiling techinical lighting & decotative / fixed furniture lighting / interior rollers & exterior rollers & mosquito net

P7 - family room ceiling techinical lighting & decotative / fixed furniture lighting / interior rollers & exterior rollers & mosquito net

P7 - shade storage ceiling techinical lighting

P8 - shade bathroom techinical lighting & backlit mirror

M mosquito net

E.R. exterior roller

I.R. interior roller

DECORATIVE LAMPS

decorative ceiling lamp

decorative floor lamp

decorative table lamp

NOTE: OPTION A: DALI System for regulation of Domotic lighting or similar OPTION B: regulation lighting system (dimmer) - with posibility of different lighting ambients

Family Room

TV

P7

IR + M + ER

R

08

IR + M + ER

R

Kitchen

23

22

21

20

19

18

17

lift truck

R	R

# 07

## Toilet

P5

P6

# 06

## Closet

P4

# 05

## Dining Room

IR + M + ER

R

F

M + IR

# 01

## Entrance Hall

F

IR

P1

# 04

## Lift

P2

02

M

Stairs

03

Living Room

| LEGEND TECHNICAL INTERIOR LIGHTING Lighting System DALI (Domótica) or similar |  |  |  |
| --- | --- | --- | --- |
| lighting type | power | feeder | reference images |
| ceiling light - general light recessed ceiling fixed LED DIRO TRIMLESS LED 202 144 811 932 W_DELTALIGHT M.K. R82 TRIMLESS O.F.A. 202 11 82 OFA_DELTALIGHT ALIMENTADOR 123403_TCI | 10'4W | 500mA-DALI |  |
| ceiling light - bathrooms, water areas recessed ceiling fixed LED DIRO TRIMLESS LED IP44 202 146 811 932 W_DELTALIGHT M.K. R82 TRIMLESS O.F.A. 202 11 82 OFA_DELTALIGHT ALIMENTADOR 123403_TCI | 10'4W | DALI |  |
| ceiling light - kitchen recessed ceiling fixed LED DIRO SBL L 202 297 83 W_DELTALIGHT | 17'5W | DALI |  |
| ceiling light - focos recessed ceiling fixed LED MINI DEEP RINGO TRIMLESS 415 312 831B_DELTALIGHT M.K. 60 415 91 60_ DELTALIGHT ALIMENTADOR 127490_TCI | 3'3W | 1050mA-DALI |  |
| wall lighting - decorative appliques 2.00m desde pavimento TAGLINE TR +TAGLINE LEDLINE PROFILE_DELTALIGHT | 10'4W | DALI |  |
| wall lighting - signaling lighting 0.30m desde pavimento LOGIC MINI W R 304 30 12 W_DELTALIGHT CONCRETE BOX 188 270 11 188_DELTALIGHT | 0'6W | 24V |  |
| ceiling light - perimetral LED LED lineal flexible LEDFLEX IN HP (Roll 5M -Superface ceiling) 300 92 54 93_DELTALIGHT | 22W/M | 24V-DALI |  |
| lineal light for fixed furniture LED lineal flexible LEDFLEX OUT IP65 (Roll 5M-inside furniture) 300 92 6393 DELTALIGHT | 14'4W/M | 24V-DALI |  |
| lineal light inside the bow windows LED lineal flexible LEDFLEX OUT IP65 (Roll 5M-inside furniture) 300 92 6393 DELTALIGHT | 14'4W/M | 24V-DALI |  |
| integrated profile LED under the steps LED lineal flexible LEDFLEX OUT IP65 (Roll 5M-inside furniture) 300 92 6393 DELTALIGHT | 14'4W/M | 24V-DALI |  |
| NOTE: Interruptor/tkeyboars Jung modelo LS990 . color based on walls color |  |  |  |

LEGEND DECORATIVE OBJECTS - TV

TV

painting

mirror

sculpture

s sensor

LIGHTING PLAN GROUND FLOOR

0	0,5	1	1,5	2	2,5 m

1/50 A1 1/100 A3